

**QUOTATION: ELECTRICAL WORKS AT URALLA SHIRE CARAVAN PARK, URALLA.**

|  |  |
| --- | --- |
| **Contractor’s details** Name: (in block letters)  | \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ ABN \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_  |
| Address:  | \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_  |
| Telephone number:  | \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_  |
|  |  |
| e-mail address:  | \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_  |

|  |
| --- |
| **BILL OF QUANTITIES– SCHEDULE OF WORK AND PRICES** |
| **Description** | **Units** | **Amount $ (including GST)** | **Amount $ (Exc GST)** |
| 1. **Main Switch supply, install and commission**
 |
| 1. Replacement of the existing asbestos meter panel with a new Bakelite panel
 | 1 |  |  |
| 1. Relocation of hot water breakers to allow panel to open
 | 1 |  |  |
| 1. Replace cracked fuse holder with new circuit breaker and enclosure
 | 1 |  |  |
| 1. Upgrade of existing circuit protection to new Standards
 | 1 |  |  |
| 1. Contact EE to have melted Off Peak relay replaced
 | 1 |  |  |
| 1. **Electrical DB supply, install and commission**
 |  |  |  |
| 1. DB3
* Replacement of particle board panel with new Bakelite panel
* Installation of main switch as per AS 3000
* Installation of RCD protection as per AS 3000
 | 11 |  |  |
| 1. DB6.
* Installation of main switch as per AS 3000
* Installation of RCD protection as per AS 3000
 | 1 |  |  |
| 1. DB7
* Installation of main switch as per AS 3000
* Installation of RCD protection as per AS 3000
 | 11 |  |  |
| 1. DB8
* Installation of main switch as per AS 3000
* Installation of RCD protection as per AS 3000
 | 11 |  |  |
| 1. DB9
* Installation of main switch as per AS 3000
* Installation of RCD protection as per AS 300
 | 11 |  |  |
| 1. DB 10
* Installation of main switch as per AS 3000
* Installation of RCD protection as per AS 3000
 | 11 |  |  |
| 1. DB 11
* Installation of main switch as per AS 3000
* Installation of RCD protection as per AS 3000
 | 11 |  |  |
| 1. DB 12
* Installation of main switch as per AS 3000
* Installation of RCD protection as per AS 3000
* Removal of timber handrails to allow door to open or relocation of existing switchboard to other side of pole
 | 111 |  |  |
| 1. DB13
* Installation of approved main switch as per AS 3000
 | 1 |  |  |
| 1. DB 14
* Installation of main switch as per AS 3000
* Installation of RCD protection as per AS 3000
 | 11 |  |  |
| 1. DB16
* Installation of main switch as per AS 3000
* Installation of RCD protection as per AS 3000
* Reinstallation of poorly Installed meter
 | 111 |  |  |
| 1. DB 17
* Installation of main switch as per AS 3000
* Installation of RCD protection as per AS 3000
 | 11 |  |  |
| Total Cost |  |  |  |

**END OF RETURNABLE BILL OF QUANTITIES– SCHEDULE OF WORK AND PRICES**